## Settings & Parameters
METER PARIO
PARTICLE-SIZE DISTRIBUTION ¦ BJS_HZN1_SINREM_PLUS_A
PARAMETERS
Sample Data
Sample Name | BJS_HZN1_SINREM_PLUS_A
File Name | C:\Users\Biofisica\Desktop\PARIO_runs_excel\PARIO_OK\Pario_ok\BJS_HZN1_SINREM_PLUS_A.xlsx
Pario Mode | PARIO Plus
Duration [h] | 8
Counter for Homogenization [s] | 60
Volume of suspension [L] | 1
Particle Density [kg/L] | 2.65
Mass of Particles [g] | 50.12
Mass of Dispersant [g] | 5
Dry mass in effluent [g] | 1.923
Sieve Data
Particle-size class | Min [µm] | Max [µm] | Value [%] | cum. Value [-] | Weight [-]
VC | 1000 | 2000 | 0.8 | 0.992 | 1
C | 500 | 1000 | 2.49 | 0.9671 | 1
M | 250 | 500 | 8.9 | 0.8781 | 1
F | 100 | 250 | 16.26 | 0.7155 | 1
VF | 50 | 100 | 3.7 | 0.6785 | 1
Meta Data
Serial Number | 0246
Firmware Version | 1,4
Software Version | 1.0.2
PSDFIT Version | 2.12
Start of measurement | 2021-10-13 09:40
Stop of measurement | 2021-10-13 12:12
Duration of measurement | 2:32
Temperature Range | 0,6 °C
Temperature Mean | 18,0 °C
NOTES
Advanced Settings
rel. WeightP | 1
rel. WeightF | 1
rel. WeightM | 1
TCRIT [s] | 30
Liquid Expansion [Pa/°C] | 1.3
Soil Classification
Used Soil Classification | US Soil Taxonomy
Created | 2021-10-20 11:56

## Sieve Data
METER PARIO
PARTICLE-SIZE DISTRIBUTION ¦ BJS_HZN1_SINREM_PLUS_A
SIEVE DATA
Particle-size class | Min [µm] | Max [µm] | Value [%] | cum. Value [-] | Weight [-]
VC | 1000 | 2000 | 0.8 | 0.992 | 1
C | 500 | 1000 | 2.49 | 0.9671 | 1
M | 250 | 500 | 8.9 | 0.8781 | 1
F | 100 | 250 | 16.26 | 0.7155 | 1
VF | 50 | 100 | 3.7 | 0.6785 | 1

## Measured Data
METER PARIO
PARTICLE-SIZE DISTRIBUTION ¦ BJS_HZN1_SINREM_PLUS_A
MEASURED DATA
Runtime [s] | Pressure [Pa] | Scaled Pressure [Pa] | Fit [Pa] | Temperature [°C]
20 | 1779.238 | 1773.536 | 1772.291 | 17.663
30 | 1776.611 | 1771.659 | 1771.385 | 17.651
40 | 1774.919 | 1770.468 | 1770.537 | 17.643
50 | 1773.572 | 1769.491 | 1769.722 | 17.637
60 | 1772.501 | 1768.71 | 1768.946 | 17.633
70 | 1771.533 | 1767.98 | 1768.238 | 17.629
80 | 1770.933 | 1767.578 | 1767.609 | 17.627
90 | 1770.228 | 1767.045 | 1767.056 | 17.624
100 | 1769.59 | 1766.554 | 1766.568 | 17.623
110 | 1769.13 | 1766.225 | 1766.137 | 17.622
120 | 1768.595 | 1765.807 | 1765.753 | 17.621
130 | 1768.144 | 1765.461 | 1765.408 | 17.62
140 | 1767.814 | 1765.225 | 1765.095 | 17.62
150 | 1767.398 | 1764.896 | 1764.808 | 17.62
160 | 1767.083 | 1764.66 | 1764.543 | 17.62
170 | 1766.799 | 1764.447 | 1764.295 | 17.621
180 | 1766.468 | 1764.184 | 1764.062 | 17.621
190 | 1766.156 | 1763.933 | 1763.843 | 17.622
200 | 1765.867 | 1763.704 | 1763.635 | 17.622
210 | 1765.597 | 1763.488 | 1763.439 | 17.623
220 | 1765.418 | 1763.359 | 1763.252 | 17.624
230 | 1765.11 | 1763.099 | 1763.074 | 17.625
240 | 1764.912 | 1762.945 | 1762.903 | 17.626
250 | 1764.674 | 1762.748 | 1762.741 | 17.628
260 | 1764.497 | 1762.611 | 1762.585 | 17.629
270 | 1764.281 | 1762.433 | 1762.435 | 17.63
280 | 1764.084 | 1762.27 | 1762.291 | 17.632
290 | 1763.898 | 1762.118 | 1762.153 | 17.633
300 | 1763.741 | 1761.992 | 1762.019 | 17.635
320 | 1763.38 | 1761.697 | 1761.766 | 17.638
340 | 1763.11 | 1761.488 | 1761.529 | 17.641
360 | 1762.829 | 1761.263 | 1761.307 | 17.645
380 | 1762.569 | 1761.055 | 1761.097 | 17.649
400 | 1762.33 | 1760.865 | 1760.899 | 17.652
420 | 1762.091 | 1760.671 | 1760.711 | 17.656
440 | 1761.855 | 1760.478 | 1760.533 | 17.658
460 | 1761.646 | 1760.309 | 1760.363 | 17.662
480 | 1761.44 | 1760.141 | 1760.201 | 17.664
500 | 1761.243 | 1759.98 | 1760.046 | 17.667
530 | 1760.995 | 1759.783 | 1759.826 | 17.67
560 | 1760.747 | 1759.581 | 1759.618 | 17.674
590 | 1760.498 | 1759.376 | 1759.423 | 17.678
620 | 1760.281 | 1759.199 | 1759.238 | 17.681
650 | 1760.086 | 1759.042 | 1759.063 | 17.683
680 | 1759.89 | 1758.882 | 1758.896 | 17.686
710 | 1759.694 | 1758.719 | 1758.737 | 17.689
750 | 1759.487 | 1758.554 | 1758.537 | 17.692
790 | 1759.25 | 1758.355 | 1758.348 | 17.696
830 | 1759.022 | 1758.163 | 1758.17 | 17.7
870 | 1758.837 | 1758.012 | 1758.001 | 17.703
910 | 1758.691 | 1757.897 | 1757.841 | 17.706
960 | 1758.444 | 1757.687 | 1757.651 | 17.71
1010 | 1758.237 | 1757.514 | 1757.473 | 17.714
1060 | 1758.06 | 1757.368 | 1757.304 | 17.718
1110 | 1757.825 | 1757.163 | 1757.144 | 17.721
1170 | 1757.616 | 1756.987 | 1756.962 | 17.726
1230 | 1757.4 | 1756.801 | 1756.79 | 17.73
1290 | 1757.233 | 1756.663 | 1756.628 | 17.734
1350 | 1757.037 | 1756.493 | 1756.474 | 17.738
1420 | 1756.849 | 1756.334 | 1756.303 | 17.743
1490 | 1756.663 | 1756.174 | 1756.142 | 17.747
1560 | 1756.475 | 1756.011 | 1755.989 | 17.752
1640 | 1756.295 | 1755.857 | 1755.822 | 17.759
1720 | 1756.086 | 1755.672 | 1755.664 | 17.765
1810 | 1755.886 | 1755.497 | 1755.496 | 17.772
1900 | 1755.706 | 1755.34 | 1755.336 | 17.779
2000 | 1755.521 | 1755.179 | 1755.167 | 17.786
2100 | 1755.308 | 1754.988 | 1755.007 | 17.793
2210 | 1755.116 | 1754.817 | 1754.84 | 17.801
2320 | 1754.943 | 1754.665 | 1754.68 | 17.81
2440 | 1754.76 | 1754.503 | 1754.515 | 17.819
2560 | 1754.588 | 1754.35 | 1754.357 | 17.828
2690 | 1754.405 | 1754.184 | 1754.195 | 17.838
2820 | 1754.221 | 1754.018 | 1754.04 | 17.848
2960 | 1754.021 | 1753.834 | 1753.88 | 17.859
3110 | 1753.862 | 1753.692 | 1753.717 | 17.87
3270 | 1753.67 | 1753.515 | 1753.551 | 17.883
3430 | 1753.492 | 1753.351 | 1753.393 | 17.895
3600 | 1753.315 | 1753.189 | 1753.232 | 17.907
3780 | 1753.139 | 1753.025 | 1753.07 | 17.92
3970 | 1752.971 | 1752.87 | 1752.906 | 17.933
4170 | 1752.803 | 1752.714 | 1752.742 | 17.948
4380 | 1752.639 | 1752.561 | 1752.577 | 17.961
4600 | 1752.479 | 1752.411 | 1752.413 | 17.973
4830 | 1752.318 | 1752.26 | 1752.248 | 17.988
5070 | 1752.141 | 1752.092 | 1752.085 | 18.003
5320 | 1751.976 | 1751.935 | 1751.923 | 18.019
5590 | 1751.799 | 1751.765 | 1751.756 | 18.038
5870 | 1751.633 | 1751.605 | 1751.591 | 18.057
6160 | 1751.467 | 1751.445 | 1751.428 | 18.074
6470 | 1751.29 | 1751.273 | 1751.262 | 18.088
6790 | 1751.136 | 1751.124 | 1751.1 | 18.103
7130 | 1750.974 | 1750.966 | 1750.936 | 18.117
7490 | 1750.815 | 1750.809 | 1750.771 | 18.131
7860 | 1750.629 | 1750.627 | 1750.61 | 18.149
8250 | 1750.493 | 1750.492 | 1750.449 | 18.168
8660 | 1750.356 | 1750.356 | 1750.289 | 18.197
9000 | 1750.239 | 1750.239 | 1750.162 | 18.227

## Particle Distribution
METER PARIO
PARTICLE-SIZE DISTRIBUTION ¦ BJS_HZN1_SINREM_PLUS_A
TEXTURE CLASSES |  |  |  |  | Values needed for display purpose only
DP[µm] | LOG10(DP) | MAX-LIKELI | P2.5 | P97.5 | class limit (µm) | val
0.063 | -1.2007 | 0 | 0 | 0 | 2 | -1
0.064322 | -1.1916 | 0.00038036 | 0.00046379 | 0.00029694 | 2 | 2
0.065672 | -1.1826 | 0.00077726 | 0.00094248 | 0.00061208 | 6.3 | 2
0.067051 | -1.1736 | 0.0011906 | 0.001436 | 0.0009453 | 6.3 | -1
0.068458 | -1.1646 | 0.0016203 | 0.0019442 | 0.0012965 | 20 | -1
0.069895 | -1.1556 | 0.0020662 | 0.0024671 | 0.0016656 | 20 | 2
0.071362 | -1.1465 | 0.0025284 | 0.0030046 | 0.0020525 | 63 | 2
0.07286 | -1.1375 | 0.0030066 | 0.0035566 | 0.002457 | 63 | -1
0.074389 | -1.1285 | 0.0035007 | 0.004123 | 0.0028791 | 200 | -1
0.075951 | -1.1195 | 0.0040108 | 0.0047037 | 0.0033187 | 200 | 2
0.077545 | -1.1104 | 0.0045367 | 0.0052987 | 0.0037756 | 630 | 2
0.079173 | -1.1014 | 0.0050783 | 0.0059079 | 0.0042498 | 630 | -1
0.080835 | -1.0924 | 0.0056355 | 0.0065311 | 0.0047412 | 2000 | -1
0.082531 | -1.0834 | 0.0062082 | 0.0071684 | 0.0052496 | 2000 | 2
0.084264 | -1.0744 | 0.0067963 | 0.0078195 | 0.0057749
0.086032 | -1.0653 | 0.0073998 | 0.0084845 | 0.0063171
0.087838 | -1.0563 | 0.0080185 | 0.0091633 | 0.006876
0.089682 | -1.0473 | 0.0086524 | 0.0098558 | 0.0074516
0.091564 | -1.0383 | 0.0093013 | 0.010562 | 0.0080437
0.093486 | -1.0292 | 0.0099652 | 0.011281 | 0.0086523
0.095449 | -1.0202 | 0.010644 | 0.012014 | 0.0092771
0.097452 | -1.0112 | 0.011338 | 0.012761 | 0.0099182
0.099497 | -1.0022 | 0.012046 | 0.01352 | 0.010575
0.10159 | -0.99317 | 0.012769 | 0.014293 | 0.011249
0.10372 | -0.98415 | 0.013506 | 0.015079 | 0.011938
0.1059 | -0.97512 | 0.014258 | 0.015878 | 0.012643
0.10812 | -0.9661 | 0.015024 | 0.01669 | 0.013363
0.11039 | -0.95708 | 0.015804 | 0.017515 | 0.0141
0.1127 | -0.94806 | 0.016599 | 0.018353 | 0.014851
0.11507 | -0.93904 | 0.017407 | 0.019203 | 0.015619
0.11749 | -0.93002 | 0.01823 | 0.020066 | 0.016401
0.11995 | -0.921 | 0.019066 | 0.020942 | 0.017198
0.12247 | -0.91197 | 0.019916 | 0.02183 | 0.018011
0.12504 | -0.90295 | 0.02078 | 0.02273 | 0.018839
0.12766 | -0.89393 | 0.021657 | 0.023643 | 0.019681
0.13034 | -0.88491 | 0.022548 | 0.024567 | 0.020539
0.13308 | -0.87589 | 0.023452 | 0.025504 | 0.021411
0.13587 | -0.86687 | 0.02437 | 0.026454 | 0.022297
0.13872 | -0.85784 | 0.025301 | 0.027415 | 0.023198
0.14164 | -0.84882 | 0.026245 | 0.028387 | 0.024114
0.14461 | -0.8398 | 0.027202 | 0.029372 | 0.025043
0.14764 | -0.83078 | 0.028171 | 0.030369 | 0.025987
0.15074 | -0.82176 | 0.029154 | 0.031377 | 0.026945
0.15391 | -0.81274 | 0.03015 | 0.032397 | 0.027917
0.15714 | -0.80372 | 0.031158 | 0.033428 | 0.028902
0.16044 | -0.7947 | 0.032178 | 0.03447 | 0.029902
0.16381 | -0.78567 | 0.033212 | 0.035524 | 0.030915
0.16724 | -0.77665 | 0.034257 | 0.03659 | 0.031941
0.17075 | -0.76763 | 0.035315 | 0.037666 | 0.032981
0.17434 | -0.75861 | 0.036385 | 0.038753 | 0.034034
0.178 | -0.74959 | 0.037467 | 0.039852 | 0.035101
0.18173 | -0.74057 | 0.038562 | 0.040961 | 0.03618
0.18555 | -0.73155 | 0.039668 | 0.042081 | 0.037273
0.18944 | -0.72252 | 0.040786 | 0.043212 | 0.038379
0.19342 | -0.7135 | 0.041915 | 0.044354 | 0.039497
0.19748 | -0.70448 | 0.043057 | 0.045506 | 0.040628
0.20162 | -0.69546 | 0.04421 | 0.046669 | 0.041772
0.20586 | -0.68644 | 0.045374 | 0.047842 | 0.042928
0.21018 | -0.67742 | 0.04655 | 0.049026 | 0.044096
0.21459 | -0.6684 | 0.047737 | 0.05022 | 0.045277
0.21909 | -0.65937 | 0.048935 | 0.051424 | 0.04647
0.22369 | -0.65035 | 0.050144 | 0.052638 | 0.047675
0.22839 | -0.64133 | 0.051365 | 0.053862 | 0.048892
0.23318 | -0.63231 | 0.052596 | 0.055096 | 0.050121
0.23807 | -0.62329 | 0.053838 | 0.05634 | 0.051361
0.24307 | -0.61427 | 0.055091 | 0.057594 | 0.052614
0.24817 | -0.60525 | 0.056354 | 0.058857 | 0.053878
0.25338 | -0.59622 | 0.057628 | 0.06013 | 0.055153
0.2587 | -0.5872 | 0.058912 | 0.061413 | 0.056439
0.26413 | -0.57818 | 0.060207 | 0.062705 | 0.057737
0.26967 | -0.56916 | 0.061512 | 0.064006 | 0.059047
0.27533 | -0.56014 | 0.062827 | 0.065317 | 0.060367
0.28111 | -0.55112 | 0.064152 | 0.066637 | 0.061698
0.28702 | -0.5421 | 0.065488 | 0.067966 | 0.06304
0.29304 | -0.53307 | 0.066833 | 0.069304 | 0.064392
0.29919 | -0.52405 | 0.068188 | 0.070651 | 0.065755
0.30547 | -0.51503 | 0.069552 | 0.072007 | 0.067129
0.31188 | -0.50601 | 0.070927 | 0.073372 | 0.068513
0.31843 | -0.49699 | 0.07231 | 0.074746 | 0.069908
0.32511 | -0.48797 | 0.073704 | 0.076128 | 0.071313
0.33194 | -0.47895 | 0.075106 | 0.077519 | 0.072728
0.3389 | -0.46992 | 0.076518 | 0.078918 | 0.074152
0.34602 | -0.4609 | 0.077939 | 0.080326 | 0.075587
0.35328 | -0.45188 | 0.079369 | 0.081742 | 0.077032
0.36069 | -0.44286 | 0.080808 | 0.083166 | 0.078486
0.36827 | -0.43384 | 0.082256 | 0.084598 | 0.07995
0.376 | -0.42482 | 0.083713 | 0.086039 | 0.081423
0.38389 | -0.4158 | 0.085178 | 0.087487 | 0.082906
0.39194 | -0.40677 | 0.086652 | 0.088943 | 0.084398
0.40017 | -0.39775 | 0.088134 | 0.090408 | 0.085899
0.40857 | -0.38873 | 0.089625 | 0.09188 | 0.087409
0.41715 | -0.37971 | 0.091125 | 0.093359 | 0.088928
0.4259 | -0.37069 | 0.092632 | 0.094847 | 0.090456
0.43484 | -0.36167 | 0.094148 | 0.096341 | 0.091993
0.44397 | -0.35265 | 0.095671 | 0.097843 | 0.093539
0.45329 | -0.34362 | 0.097203 | 0.099353 | 0.095093
0.4628 | -0.3346 | 0.098742 | 0.10087 | 0.096655
0.47252 | -0.32558 | 0.10029 | 0.10239 | 0.098226
0.48244 | -0.31656 | 0.10185 | 0.10393 | 0.099805
0.49256 | -0.30754 | 0.10341 | 0.10546 | 0.10139
0.5029 | -0.29852 | 0.10498 | 0.10701 | 0.10299
0.51346 | -0.2895 | 0.10655 | 0.10856 | 0.10459
0.52423 | -0.28047 | 0.10814 | 0.11012 | 0.1062
0.53524 | -0.27145 | 0.10973 | 0.11168 | 0.10782
0.54647 | -0.26243 | 0.11133 | 0.11326 | 0.10945
0.55794 | -0.25341 | 0.11294 | 0.11483 | 0.11108
0.56965 | -0.24439 | 0.11455 | 0.11642 | 0.11272
0.58161 | -0.23537 | 0.11617 | 0.11801 | 0.11437
0.59382 | -0.22635 | 0.1178 | 0.11961 | 0.11603
0.60628 | -0.21732 | 0.11943 | 0.12121 | 0.11769
0.61901 | -0.2083 | 0.12107 | 0.12282 | 0.11936
0.632 | -0.19928 | 0.12272 | 0.12444 | 0.12104
0.64527 | -0.19026 | 0.12437 | 0.12606 | 0.12272
0.65881 | -0.18124 | 0.12603 | 0.12769 | 0.12441
0.67264 | -0.17222 | 0.12769 | 0.12932 | 0.12611
0.68676 | -0.1632 | 0.12937 | 0.13096 | 0.12781
0.70117 | -0.15418 | 0.13104 | 0.13261 | 0.12952
0.71589 | -0.14515 | 0.13273 | 0.13426 | 0.13124
0.73092 | -0.13613 | 0.13442 | 0.13591 | 0.13296
0.74626 | -0.12711 | 0.13611 | 0.13758 | 0.13469
0.76192 | -0.11809 | 0.13781 | 0.13924 | 0.13642
0.77792 | -0.10907 | 0.13952 | 0.14091 | 0.13816
0.79424 | -0.10005 | 0.14123 | 0.14259 | 0.13991
0.81092 | -0.091025 | 0.14295 | 0.14427 | 0.14166
0.82794 | -0.082003 | 0.14467 | 0.14596 | 0.14342
0.84531 | -0.072982 | 0.1464 | 0.14765 | 0.14518
0.86306 | -0.06396 | 0.14813 | 0.14935 | 0.14695
0.88117 | -0.054939 | 0.14987 | 0.15105 | 0.14872
0.89967 | -0.045917 | 0.15161 | 0.15276 | 0.1505
0.91855 | -0.036896 | 0.15336 | 0.15447 | 0.15228
0.93783 | -0.027875 | 0.15511 | 0.15618 | 0.15407
0.95752 | -0.018853 | 0.15687 | 0.1579 | 0.15586
0.97762 | -0.0098318 | 0.15863 | 0.15963 | 0.15766
0.99814 | -0.00081038 | 0.16039 | 0.16136 | 0.15946
1.0191 | 0.008211 | 0.16216 | 0.16309 | 0.16127
1.0405 | 0.017233 | 0.16394 | 0.16483 | 0.16308
1.0623 | 0.026254 | 0.16572 | 0.16657 | 0.1649
1.0846 | 0.035275 | 0.1675 | 0.16831 | 0.16672
1.1074 | 0.044297 | 0.16928 | 0.17006 | 0.16854
1.1306 | 0.053318 | 0.17107 | 0.17181 | 0.17037
1.1544 | 0.06234 | 0.17287 | 0.17357 | 0.1722
1.1786 | 0.071361 | 0.17467 | 0.17533 | 0.17403
1.2033 | 0.080382 | 0.17647 | 0.17709 | 0.17587
1.2286 | 0.089404 | 0.17827 | 0.17886 | 0.17772
1.2544 | 0.098425 | 0.18008 | 0.18063 | 0.17956
1.2807 | 0.10745 | 0.18189 | 0.1824 | 0.18141
1.3076 | 0.11647 | 0.18371 | 0.18418 | 0.18327
1.335 | 0.12549 | 0.18553 | 0.18596 | 0.18512
1.3631 | 0.13451 | 0.18735 | 0.18774 | 0.18698
1.3917 | 0.14353 | 0.18917 | 0.18953 | 0.18884
1.4209 | 0.15255 | 0.191 | 0.19132 | 0.19071
1.4507 | 0.16157 | 0.19283 | 0.19311 | 0.19258
1.4811 | 0.1706 | 0.19466 | 0.1949 | 0.19445
1.5122 | 0.17962 | 0.1965 | 0.1967 | 0.19632
1.544 | 0.18864 | 0.19834 | 0.1985 | 0.1982
1.5764 | 0.19766 | 0.20018 | 0.2003 | 0.20007
1.6095 | 0.20668 | 0.20202 | 0.2021 | 0.20195
1.6433 | 0.2157 | 0.20386 | 0.20391 | 0.20383
1.6777 | 0.22473 | 0.20571 | 0.20572 | 0.20572
1.713 | 0.23375 | 0.20756 | 0.20753 | 0.20761
1.7489 | 0.24277 | 0.20941 | 0.20934 | 0.20949
1.7856 | 0.25179 | 0.21127 | 0.21116 | 0.21138
1.8231 | 0.26081 | 0.21312 | 0.21297 | 0.21327
1.8614 | 0.26983 | 0.21498 | 0.21479 | 0.21517
1.9004 | 0.27885 | 0.21683 | 0.21661 | 0.21706
1.9403 | 0.28787 | 0.2187 | 0.21843 | 0.21896
1.981 | 0.2969 | 0.22056 | 0.22026 | 0.22085
2.0226 | 0.30592 | 0.22243 | 0.22209 | 0.22276
2.0651 | 0.31494 | 0.22434 | 0.22396 | 0.22473
2.1084 | 0.32396 | 0.22632 | 0.22588 | 0.22676
2.1527 | 0.33298 | 0.22834 | 0.22783 | 0.22885
2.1979 | 0.342 | 0.23042 | 0.22983 | 0.231
2.244 | 0.35102 | 0.23254 | 0.23187 | 0.2332
2.2911 | 0.36005 | 0.23471 | 0.23395 | 0.23547
2.3392 | 0.36907 | 0.23692 | 0.23606 | 0.23779
2.3883 | 0.37809 | 0.23918 | 0.23821 | 0.24015
2.4384 | 0.38711 | 0.24148 | 0.2404 | 0.24257
2.4896 | 0.39613 | 0.24382 | 0.24262 | 0.24504
2.5419 | 0.40515 | 0.24621 | 0.24487 | 0.24755
2.5952 | 0.41418 | 0.24862 | 0.24715 | 0.2501
2.6497 | 0.4232 | 0.25108 | 0.24947 | 0.2527
2.7053 | 0.43222 | 0.25357 | 0.25182 | 0.25534
2.7621 | 0.44124 | 0.25609 | 0.25419 | 0.25801
2.8201 | 0.45026 | 0.25864 | 0.25659 | 0.26072
2.8793 | 0.45928 | 0.26123 | 0.25902 | 0.26346
2.9397 | 0.4683 | 0.26384 | 0.26147 | 0.26624
3.0014 | 0.47732 | 0.26648 | 0.26395 | 0.26904
3.0644 | 0.48635 | 0.26914 | 0.26645 | 0.27187
3.1287 | 0.49537 | 0.27183 | 0.26897 | 0.27473
3.1944 | 0.50439 | 0.27453 | 0.27151 | 0.27761
3.2614 | 0.51341 | 0.27726 | 0.27407 | 0.28051
3.3299 | 0.52243 | 0.28001 | 0.27665 | 0.28343
3.3998 | 0.53145 | 0.28278 | 0.27924 | 0.28637
3.4712 | 0.54048 | 0.28556 | 0.28185 | 0.28933
3.544 | 0.5495 | 0.28836 | 0.28448 | 0.2923
3.6184 | 0.55852 | 0.29117 | 0.28712 | 0.29528
3.6944 | 0.56754 | 0.29399 | 0.28977 | 0.29827
3.7719 | 0.57656 | 0.29682 | 0.29244 | 0.30127
3.8511 | 0.58558 | 0.29965 | 0.29511 | 0.30427
3.9319 | 0.5946 | 0.3025 | 0.29779 | 0.30728
4.0144 | 0.60362 | 0.30535 | 0.30049 | 0.31029
4.0987 | 0.61265 | 0.3082 | 0.30318 | 0.3133
4.1847 | 0.62167 | 0.31106 | 0.30589 | 0.3163
4.2726 | 0.63069 | 0.31391 | 0.3086 | 0.31931
4.3623 | 0.63971 | 0.31676 | 0.31131 | 0.3223
4.4538 | 0.64873 | 0.31961 | 0.31402 | 0.32529
4.5473 | 0.65775 | 0.32246 | 0.31674 | 0.32827
4.6427 | 0.66678 | 0.3253 | 0.31945 | 0.33123
4.7402 | 0.6758 | 0.32813 | 0.32216 | 0.33418
4.8397 | 0.68482 | 0.33096 | 0.32488 | 0.33712
4.9413 | 0.69384 | 0.33377 | 0.32758 | 0.34003
5.045 | 0.70286 | 0.33657 | 0.33029 | 0.34293
5.1509 | 0.71188 | 0.33936 | 0.33298 | 0.3458
5.259 | 0.7209 | 0.34213 | 0.33568 | 0.34865
5.3694 | 0.72993 | 0.34489 | 0.33836 | 0.35148
5.4821 | 0.73895 | 0.34763 | 0.34103 | 0.35427
5.5972 | 0.74797 | 0.35034 | 0.34369 | 0.35704
5.7146 | 0.75699 | 0.35304 | 0.34635 | 0.35977
5.8346 | 0.76601 | 0.35571 | 0.34898 | 0.36247
5.9571 | 0.77503 | 0.35836 | 0.35161 | 0.36513
6.0821 | 0.78405 | 0.36098 | 0.35422 | 0.36776
6.2098 | 0.79307 | 0.36357 | 0.35681 | 0.37034
6.3401 | 0.8021 | 0.36614 | 0.35939 | 0.37289
6.4732 | 0.81112 | 0.36868 | 0.36196 | 0.37539
6.609 | 0.82014 | 0.37121 | 0.36453 | 0.37786
6.7478 | 0.82916 | 0.37371 | 0.3671 | 0.38029
6.8894 | 0.83818 | 0.3762 | 0.36967 | 0.3827
7.034 | 0.8472 | 0.37868 | 0.37224 | 0.38507
7.1817 | 0.85623 | 0.38114 | 0.37482 | 0.38743
7.3324 | 0.86525 | 0.3836 | 0.37739 | 0.38977
7.4863 | 0.87427 | 0.38605 | 0.37997 | 0.39209
7.6434 | 0.88329 | 0.38849 | 0.38256 | 0.39439
7.8039 | 0.89231 | 0.39093 | 0.38514 | 0.39669
7.9677 | 0.90133 | 0.39338 | 0.38774 | 0.39898
8.1349 | 0.91035 | 0.39582 | 0.39034 | 0.40127
8.3057 | 0.91938 | 0.39827 | 0.39295 | 0.40356
8.48 | 0.9284 | 0.40072 | 0.39556 | 0.40585
8.658 | 0.93742 | 0.40318 | 0.39819 | 0.40815
8.8397 | 0.94644 | 0.40565 | 0.40083 | 0.41045
9.0253 | 0.95546 | 0.40813 | 0.40347 | 0.41278
9.2147 | 0.96448 | 0.41062 | 0.40613 | 0.41511
9.4081 | 0.9735 | 0.41314 | 0.4088 | 0.41747
9.6056 | 0.98252 | 0.41567 | 0.41148 | 0.41985
9.8072 | 0.99155 | 0.41822 | 0.41418 | 0.42225
10.0131 | 1.0006 | 0.42079 | 0.41689 | 0.42469
10.2232 | 1.0096 | 0.42339 | 0.41962 | 0.42716
10.4378 | 1.0186 | 0.42601 | 0.42236 | 0.42966
10.6569 | 1.0276 | 0.42866 | 0.42513 | 0.43221
10.8806 | 1.0367 | 0.43134 | 0.4279 | 0.43479
11.109 | 1.0457 | 0.43406 | 0.4307 | 0.43742
11.3422 | 1.0547 | 0.43681 | 0.43352 | 0.4401
11.5802 | 1.0637 | 0.4396 | 0.43636 | 0.44283
11.8233 | 1.0727 | 0.44242 | 0.43922 | 0.44561
12.0715 | 1.0818 | 0.44527 | 0.44209 | 0.44843
12.3248 | 1.0908 | 0.44815 | 0.44499 | 0.4513
12.5835 | 1.0998 | 0.45106 | 0.4479 | 0.4542
12.8477 | 1.1088 | 0.45399 | 0.45083 | 0.45714
13.1173 | 1.1179 | 0.45695 | 0.45378 | 0.46011
13.3927 | 1.1269 | 0.45994 | 0.45674 | 0.46312
13.6738 | 1.1359 | 0.46295 | 0.45972 | 0.46616
13.9608 | 1.1449 | 0.46597 | 0.46271 | 0.46922
14.2538 | 1.1539 | 0.46902 | 0.46572 | 0.47231
14.553 | 1.1629 | 0.47209 | 0.46874 | 0.47542
14.8585 | 1.172 | 0.47517 | 0.47177 | 0.47856
15.1704 | 1.181 | 0.47827 | 0.47482 | 0.48171
15.4888 | 1.19 | 0.48138 | 0.47787 | 0.48487
15.8139 | 1.199 | 0.4845 | 0.48094 | 0.48805
16.1458 | 1.2081 | 0.48763 | 0.48402 | 0.49124
16.4847 | 1.2171 | 0.49077 | 0.48711 | 0.49444
16.8307 | 1.2261 | 0.49392 | 0.4902 | 0.49764
17.184 | 1.2351 | 0.49708 | 0.49331 | 0.50084
17.5447 | 1.2442 | 0.50024 | 0.49642 | 0.50405
17.913 | 1.2532 | 0.5034 | 0.49954 | 0.50725
18.2889 | 1.2622 | 0.50656 | 0.50267 | 0.51045
18.6728 | 1.2712 | 0.50972 | 0.5058 | 0.51364
19.0648 | 1.2802 | 0.51288 | 0.50894 | 0.51683
19.4649 | 1.2893 | 0.51604 | 0.51208 | 0.52
19.8735 | 1.2983 | 0.51919 | 0.51523 | 0.52316
20.2906 | 1.3073 | 0.52234 | 0.51838 | 0.5263
20.7165 | 1.3163 | 0.5255 | 0.52154 | 0.52945
21.1514 | 1.3253 | 0.52866 | 0.52471 | 0.5326
21.5953 | 1.3344 | 0.53182 | 0.52789 | 0.53576
22.0486 | 1.3434 | 0.535 | 0.53108 | 0.53892
22.5114 | 1.3524 | 0.53818 | 0.53428 | 0.54208
22.9839 | 1.3614 | 0.54137 | 0.53749 | 0.54525
23.4664 | 1.3704 | 0.54457 | 0.54071 | 0.54842
23.9589 | 1.3795 | 0.54778 | 0.54395 | 0.5516
24.4618 | 1.3885 | 0.55099 | 0.54719 | 0.55478
24.9753 | 1.3975 | 0.5542 | 0.55044 | 0.55797
25.4995 | 1.4065 | 0.55743 | 0.5537 | 0.56117
26.0347 | 1.4156 | 0.56066 | 0.55696 | 0.56436
26.5812 | 1.4246 | 0.56391 | 0.56024 | 0.56757
27.1391 | 1.4336 | 0.56716 | 0.56353 | 0.57078
27.7088 | 1.4426 | 0.57041 | 0.56682 | 0.574
28.2904 | 1.4516 | 0.57368 | 0.57013 | 0.57722
28.8842 | 1.4607 | 0.57695 | 0.57344 | 0.58046
29.4904 | 1.4697 | 0.58023 | 0.57676 | 0.5837
30.1094 | 1.4787 | 0.58352 | 0.58009 | 0.58695
30.7414 | 1.4877 | 0.58682 | 0.58343 | 0.5902
31.3867 | 1.4968 | 0.59012 | 0.58678 | 0.59346
32.0455 | 1.5058 | 0.59344 | 0.59013 | 0.59674
32.7181 | 1.5148 | 0.59676 | 0.5935 | 0.60002
33.4049 | 1.5238 | 0.60009 | 0.59687 | 0.6033
34.106 | 1.5328 | 0.60342 | 0.60025 | 0.6066
34.8219 | 1.5418 | 0.60677 | 0.60363 | 0.60991
35.5528 | 1.5509 | 0.61013 | 0.60703 | 0.61323
36.2991 | 1.5599 | 0.61351 | 0.61045 | 0.61657
37.061 | 1.5689 | 0.61706 | 0.61403 | 0.62008
37.8389 | 1.5779 | 0.62079 | 0.61781 | 0.62378
38.6331 | 1.587 | 0.62469 | 0.62175 | 0.62763
39.444 | 1.596 | 0.62873 | 0.62584 | 0.63162
40.272 | 1.605 | 0.63288 | 0.63004 | 0.63573
41.1173 | 1.614 | 0.63713 | 0.63433 | 0.63992
41.9803 | 1.6231 | 0.64144 | 0.63869 | 0.64419
42.8615 | 1.6321 | 0.6458 | 0.6431 | 0.64849
43.7611 | 1.6411 | 0.65018 | 0.64753 | 0.65282
44.6797 | 1.6501 | 0.65456 | 0.65196 | 0.65715
45.6175 | 1.6591 | 0.65891 | 0.65637 | 0.66146
46.575 | 1.6682 | 0.66322 | 0.66073 | 0.66571
47.5526 | 1.6772 | 0.66746 | 0.66502 | 0.6699
48.5507 | 1.6862 | 0.67161 | 0.66922 | 0.674
49.5698 | 1.6952 | 0.67563 | 0.67329 | 0.67797
50.6102 | 1.7042 | 0.67952 | 0.67723 | 0.68181
51.6725 | 1.7133 | 0.68324 | 0.681 | 0.68549
52.7571 | 1.7223 | 0.68678 | 0.68458 | 0.68898
53.8645 | 1.7313 | 0.69011 | 0.68795 | 0.69226
54.9951 | 1.7403 | 0.6932 | 0.69109 | 0.69532
56.1494 | 1.7493 | 0.69604 | 0.69397 | 0.69812
57.328 | 1.7584 | 0.6986 | 0.69656 | 0.70064
58.5313 | 1.7674 | 0.70086 | 0.69885 | 0.70286
59.7599 | 1.7764 | 0.70278 | 0.70081 | 0.70476
61.0142 | 1.7854 | 0.70437 | 0.70242 | 0.70631
62.2949 | 1.7945 | 0.70557 | 0.70365 | 0.70749
63.6025 | 1.8035 | 0.70642 | 0.70452 | 0.70832
64.9375 | 1.8125 | 0.70713 | 0.70525 | 0.70902
66.3005 | 1.8215 | 0.70777 | 0.7059 | 0.70964
67.6921 | 1.8305 | 0.70834 | 0.70648 | 0.71019
69.113 | 1.8396 | 0.70884 | 0.707 | 0.71068
70.5637 | 1.8486 | 0.70929 | 0.70747 | 0.71112
72.0448 | 1.8576 | 0.7097 | 0.70788 | 0.71152
73.557 | 1.8666 | 0.71007 | 0.70826 | 0.71188
75.1009 | 1.8757 | 0.71041 | 0.70861 | 0.71221
76.6773 | 1.8847 | 0.71073 | 0.70894 | 0.71252
78.2867 | 1.8937 | 0.71103 | 0.70925 | 0.71281
79.93 | 1.9027 | 0.71133 | 0.70956 | 0.7131
81.6077 | 1.9117 | 0.71163 | 0.70987 | 0.71339
83.3206 | 1.9207 | 0.71194 | 0.71019 | 0.71369
85.0695 | 1.9298 | 0.71227 | 0.71052 | 0.71401
86.8551 | 1.9388 | 0.71262 | 0.71089 | 0.71436
88.6782 | 1.9478 | 0.71301 | 0.71129 | 0.71473
90.5395 | 1.9568 | 0.71344 | 0.71173 | 0.71515
92.4399 | 1.9659 | 0.71392 | 0.71222 | 0.71562
94.3802 | 1.9749 | 0.71446 | 0.71277 | 0.71614
96.3612 | 1.9839 | 0.71506 | 0.71339 | 0.71673
98.3838 | 1.9929 | 0.71574 | 0.71408 | 0.71739
100.449 | 2.0019 | 0.7165 | 0.71486 | 0.71814
102.557 | 2.011 | 0.71757 | 0.71595 | 0.7192
104.71 | 2.02 | 0.71904 | 0.71742 | 0.72065
106.908 | 2.029 | 0.72086 | 0.71926 | 0.72247
109.152 | 2.038 | 0.72304 | 0.72144 | 0.72464
111.443 | 2.0471 | 0.72554 | 0.72395 | 0.72714
113.782 | 2.0561 | 0.72835 | 0.72675 | 0.72995
116.17 | 2.0651 | 0.73145 | 0.72984 | 0.73305
118.609 | 2.0741 | 0.7348 | 0.73319 | 0.73641
121.098 | 2.0831 | 0.7384 | 0.73679 | 0.74002
123.64 | 2.0922 | 0.74223 | 0.7406 | 0.74385
126.235 | 2.1012 | 0.74625 | 0.74461 | 0.74789
128.885 | 2.1102 | 0.75046 | 0.7488 | 0.75211
131.59 | 2.1192 | 0.75483 | 0.75316 | 0.7565
134.352 | 2.1282 | 0.75933 | 0.75765 | 0.76102
137.172 | 2.1373 | 0.76396 | 0.76226 | 0.76566
140.052 | 2.1463 | 0.76868 | 0.76696 | 0.77041
142.991 | 2.1553 | 0.77349 | 0.77175 | 0.77523
145.993 | 2.1643 | 0.77835 | 0.77659 | 0.78011
149.057 | 2.1734 | 0.78324 | 0.78146 | 0.78502
152.186 | 2.1824 | 0.78816 | 0.78636 | 0.78996
155.38 | 2.1914 | 0.79306 | 0.79124 | 0.79488
158.641 | 2.2004 | 0.79794 | 0.7961 | 0.79978
161.971 | 2.2094 | 0.80278 | 0.80092 | 0.80463
165.371 | 2.2185 | 0.80754 | 0.80567 | 0.80942
168.842 | 2.2275 | 0.81222 | 0.81033 | 0.81411
172.386 | 2.2365 | 0.81679 | 0.81489 | 0.8187
176.004 | 2.2455 | 0.82123 | 0.81932 | 0.82315
179.699 | 2.2546 | 0.82552 | 0.8236 | 0.82745
183.471 | 2.2636 | 0.82964 | 0.82771 | 0.83158
187.322 | 2.2726 | 0.83357 | 0.83163 | 0.83551
191.253 | 2.2816 | 0.83729 | 0.83534 | 0.83923
195.268 | 2.2906 | 0.84077 | 0.83882 | 0.84272
199.366 | 2.2997 | 0.844 | 0.84205 | 0.84594
203.551 | 2.3087 | 0.84706 | 0.84512 | 0.84901
207.824 | 2.3177 | 0.85015 | 0.84821 | 0.85209
212.186 | 2.3267 | 0.85325 | 0.85131 | 0.85518
216.64 | 2.3357 | 0.85637 | 0.85443 | 0.8583
221.187 | 2.3448 | 0.8595 | 0.85756 | 0.86143
225.829 | 2.3538 | 0.86264 | 0.86071 | 0.86458
230.57 | 2.3628 | 0.86579 | 0.86386 | 0.86773
235.409 | 2.3718 | 0.86895 | 0.86702 | 0.87089
240.35 | 2.3808 | 0.87212 | 0.87018 | 0.87405
245.395 | 2.3899 | 0.87528 | 0.87335 | 0.87722
250.546 | 2.3989 | 0.87845 | 0.87652 | 0.88039
255.805 | 2.4079 | 0.88161 | 0.87968 | 0.88355
261.174 | 2.4169 | 0.88477 | 0.88283 | 0.88671
266.656 | 2.4259 | 0.88792 | 0.88598 | 0.88986
272.253 | 2.435 | 0.89106 | 0.88912 | 0.893
277.968 | 2.444 | 0.89418 | 0.89224 | 0.89612
283.803 | 2.453 | 0.89729 | 0.89535 | 0.89924
289.76 | 2.462 | 0.90039 | 0.89844 | 0.90233
295.842 | 2.4711 | 0.90346 | 0.90152 | 0.9054
302.051 | 2.4801 | 0.90651 | 0.90457 | 0.90845
308.391 | 2.4891 | 0.90953 | 0.90759 | 0.91148
314.864 | 2.4981 | 0.91253 | 0.91059 | 0.91448
321.473 | 2.5071 | 0.9155 | 0.91356 | 0.91744
328.221 | 2.5162 | 0.91843 | 0.91649 | 0.92038
335.11 | 2.5252 | 0.92134 | 0.9194 | 0.92328
342.144 | 2.5342 | 0.9242 | 0.92226 | 0.92614
349.326 | 2.5432 | 0.92702 | 0.92509 | 0.92896
356.658 | 2.5522 | 0.9298 | 0.92787 | 0.93174
364.144 | 2.5613 | 0.93254 | 0.93061 | 0.93447
371.787 | 2.5703 | 0.93523 | 0.93331 | 0.93716
379.591 | 2.5793 | 0.93787 | 0.93595 | 0.93979
387.559 | 2.5883 | 0.94046 | 0.93855 | 0.94237
395.694 | 2.5974 | 0.94299 | 0.94109 | 0.9449
403.999 | 2.6064 | 0.94547 | 0.94357 | 0.94737
412.479 | 2.6154 | 0.94789 | 0.946 | 0.94978
421.137 | 2.6244 | 0.95024 | 0.94837 | 0.95212
429.977 | 2.6334 | 0.95254 | 0.95067 | 0.95441
439.002 | 2.6425 | 0.95476 | 0.95291 | 0.95662
448.216 | 2.6515 | 0.95692 | 0.95508 | 0.95876
457.624 | 2.6605 | 0.959 | 0.95717 | 0.96083
467.23 | 2.6695 | 0.96101 | 0.9592 | 0.96283
477.037 | 2.6785 | 0.96295 | 0.96115 | 0.96475
487.05 | 2.6876 | 0.9648 | 0.96303 | 0.96658
497.273 | 2.6966 | 0.96658 | 0.96482 | 0.96834
507.71 | 2.7056 | 0.96827 | 0.96653 | 0.97001
518.367 | 2.7146 | 0.96987 | 0.96816 | 0.97159
529.248 | 2.7237 | 0.97139 | 0.9697 | 0.97308
540.356 | 2.7327 | 0.97281 | 0.97115 | 0.97448
551.698 | 2.7417 | 0.97414 | 0.9725 | 0.97578
563.279 | 2.7507 | 0.97538 | 0.97377 | 0.97699
575.102 | 2.7597 | 0.97651 | 0.97493 | 0.9781
587.173 | 2.7688 | 0.97755 | 0.976 | 0.9791
599.498 | 2.7778 | 0.97848 | 0.97697 | 0.98
612.081 | 2.7868 | 0.97931 | 0.97783 | 0.98079
624.928 | 2.7958 | 0.98003 | 0.97859 | 0.98147
638.046 | 2.8049 | 0.98066 | 0.97925 | 0.98206
651.438 | 2.8139 | 0.98127 | 0.97991 | 0.98263
665.112 | 2.8229 | 0.98188 | 0.98055 | 0.9832
679.072 | 2.8319 | 0.98247 | 0.98119 | 0.98376
693.326 | 2.8409 | 0.98307 | 0.98182 | 0.98431
707.879 | 2.85 | 0.98365 | 0.98245 | 0.98486
722.737 | 2.859 | 0.98423 | 0.98306 | 0.9854
737.907 | 2.868 | 0.9848 | 0.98367 | 0.98593
753.396 | 2.877 | 0.98537 | 0.98427 | 0.98645
769.209 | 2.886 | 0.98592 | 0.98487 | 0.98697
785.355 | 2.8951 | 0.98647 | 0.98545 | 0.98748
801.839 | 2.9041 | 0.98701 | 0.98603 | 0.98798
818.67 | 2.9131 | 0.98754 | 0.98659 | 0.98848
835.854 | 2.9221 | 0.98806 | 0.98715 | 0.98896
853.398 | 2.9312 | 0.98857 | 0.9877 | 0.98944
871.311 | 2.9402 | 0.98908 | 0.98824 | 0.98991
889.599 | 2.9492 | 0.98957 | 0.98877 | 0.99037
908.272 | 2.9582 | 0.99006 | 0.9893 | 0.99082
927.336 | 2.9672 | 0.99054 | 0.98981 | 0.99126
946.801 | 2.9763 | 0.991 | 0.99031 | 0.9917
966.674 | 2.9853 | 0.99146 | 0.9908 | 0.99212
986.965 | 2.9943 | 0.99191 | 0.99128 | 0.99253
1007.68 | 3.0033 | 0.99235 | 0.99175 | 0.99294
1028.83 | 3.0123 | 0.99277 | 0.99221 | 0.99334
1050.43 | 3.0214 | 0.99319 | 0.99266 | 0.99372
1072.48 | 3.0304 | 0.9936 | 0.99309 | 0.9941
1094.99 | 3.0394 | 0.99399 | 0.99352 | 0.99446
1117.97 | 3.0484 | 0.99438 | 0.99393 | 0.99482
1141.44 | 3.0574 | 0.99475 | 0.99433 | 0.99516
1165.39 | 3.0665 | 0.99511 | 0.99472 | 0.9955
1189.86 | 3.0755 | 0.99546 | 0.9951 | 0.99582
1214.83 | 3.0845 | 0.9958 | 0.99547 | 0.99614
1240.33 | 3.0935 | 0.99613 | 0.99582 | 0.99644
1266.36 | 3.1026 | 0.99645 | 0.99616 | 0.99673
1292.95 | 3.1116 | 0.99675 | 0.99649 | 0.99701
1320.08 | 3.1206 | 0.99704 | 0.9968 | 0.99728
1347.79 | 3.1296 | 0.99732 | 0.9971 | 0.99753
1376.08 | 3.1386 | 0.99758 | 0.99739 | 0.99778
1404.97 | 3.1477 | 0.99784 | 0.99766 | 0.99801
1434.46 | 3.1567 | 0.99808 | 0.99792 | 0.99823
1464.56 | 3.1657 | 0.9983 | 0.99816 | 0.99844
1495.31 | 3.1747 | 0.99852 | 0.99839 | 0.99864
1526.69 | 3.1837 | 0.99872 | 0.99861 | 0.99882
1558.74 | 3.1928 | 0.9989 | 0.99881 | 0.99899
1591.45 | 3.2018 | 0.99907 | 0.999 | 0.99915
1624.86 | 3.2108 | 0.99923 | 0.99917 | 0.99929
1658.96 | 3.2198 | 0.99938 | 0.99932 | 0.99943
1693.79 | 3.2289 | 0.9995 | 0.99946 | 0.99955
1729.34 | 3.2379 | 0.99962 | 0.99959 | 0.99965
1765.64 | 3.2469 | 0.99972 | 0.9997 | 0.99974
1802.7 | 3.2559 | 0.9998 | 0.99979 | 0.99982
1840.54 | 3.2649 | 0.99987 | 0.99986 | 0.99989
1879.17 | 3.274 | 0.99993 | 0.99992 | 0.99994
1918.61 | 3.283 | 0.99997 | 0.99997 | 0.99997
1958.88 | 3.292 | 0.99999 | 0.99999 | 0.99999
2000 | 3.301 | 1 | 1 | 1

## Texture Classes
METER PARIO
PARTICLE-SIZE DISTRIBUTION ¦ BJS_HZN1_SINREM_PLUS_A
TEXTURE CLASSES
FRACTION | DP[µm] | MAX-LIKELI | P2.5 | P97.5
CLAY | <2.0µm | 0.22141 | -99 | -99
FINE-SILT | 2.0-5.0µm | 0.11396 | -99 | -99
MIDDLE-SILT | 5.0-20µm | 0.18479 | -99 | -99
COARSE-SILT | 20-50µm | 0.15712 | -99 | -99
FINE-SAND | 50-200µm | 0.1672 | -99 | -99
MIDDLE-SAND | 200-500µm | 0.12256 | -99 | -99
COARSE-SAND | 500-2000µm | 0.032971 | -99 | -99
CLAY | <2.0µm | 0.22141 | -99 | -99
SILT | 2.0-50µm | 0.45586 | -99 | -99
SAND | 50-2000µm | 0.32273 | -99 | -99

## Soil Triangle USA
METER PARIO
PARTICLE-SIZE DISTRIBUTION ¦ BJS_HZN1_SINREM_PLUS_A
SOIL TRIANGLE |  |  | Values needed for display purpose only
Fraktion | DP[µm] | MAX-LIKELI | US Soil Taxonomy
|  |  | y | x
METER PARIO
PARTICLE SIZE DISTRIBUTION |

## Diagnostics
METER PARIO
PARTICLE-SIZE DISTRIBUTION ¦ GG_10_1_+1_P+2,5h
RESIDUAL ANALYSIS
|  | PRESSURE DATA | SIEVE DATA | ALL DATA
number of data | NDATA | 97 | 5 | 1
weighed sum of square errors | WSSE | 61300 | 2235 | 3.56
mean error | MEANE | 0.002657 | 5.465e-05 | -5.967e-05
root mean square error | RMSE | 0.06898 | 0.0006686 | 5.967e-05
mean average error | MAE | 0.04591 | 0.0004661 | 5.967e-05
modeling efficiency (R²) | MODEFF | 0.9999
PARAMETER STATISTICS
| PARNAME | POPT | SE | P 2.5 | P97.5
CDF function value at 2 µm | F(2.0) | 0.2214 | 0.0001579 | 0.2211 | 0.2217
CDF function value at 6.3 µm | F(6.3) | 0.3654 | 0.003401 | 0.3586 | 0.3721
CDF function value at 11.3 µm | F(11.3) | 0.4363 | 0.001663 | 0.433 | 0.4396
CDF function value at 20 µm | F(20) | 0.5202 | 0.001997 | 0.5162 | 0.5241
CDF function value at 36 µm | F(36) | 0.6122 | 0.00155 | 0.6091 | 0.6152
CDF function value at 63 µm | F(63) | 0.7061 | 0.0009622 | 0.7042 | 0.708
CDF function value at 200 µm | F(200) | 0.7163 | 0.0008271 | 0.7147 | 0.718
CDF function value at 630 µm | F(630) | 0.8445 | 0.0009793 | 0.8425 | 0.8464
estimated sensor position | ZMEAS | 0.9803 | 0.0007178 | 0.9789 | 0.9817
|  | 0.1763 | 1.244e-05 | 0.1763 | 0.1763